## Sheet1
Alarm Text | Renamed Alarm | Alarm crtiticality
AC power fail | Power | Critical
Air Condiction Fault | Air Condition | Critical
AIR CONDITION FAULT | Air Condition | Critical
Air-condition Fault | Air Condition | Critical
Cut Off power | Power | Critical
Cutt Off Power | Power | Critical
Door Alarm | Door | Not Critical
Door Alarm | Door | Not Critical
Door Fence Gate | Fence | Not Critical
Fence Door | Fence | Not Critical
Fence Gate | Fence | Not Critical
FENCE GATE ALARM | Fence | Not Critical
FENCE GATE ALARM (2) | Fence | Not Critical
FIRE ALARM | Fire | Critical
High Temp | High Temp | Critical
High Temperature | High Temp | Critical
High Temprature | High Temp | Critical
Hight Temerature | High Temp | Critical
Hight Temperature | High Temp | Critical
MAIN POWER CUT OFF | Power | Critical
MAIN POWER CUTTOFF | Power | Critical
MAJOR | Major | Critical
MAJOR ALARM | Major | Critical
MINOR | Minor | Not Critical
minor alarm | Minor | Not Critical
Recrifier Minor | Minor | Not Critical
Rect Major | Major | Critical
Rect Minor | Minor | Not Critical
Rect, Hightemp | High Temp | Critical
Rect. Major | Major | Critical
Rectefire major alarm | Major | Critical
Rectifier Major | Major | Critical
RECTIFIER MAJOR ALARM | Major | Critical
RECTIFIER MAJOR ALARM (5) | Major | Critical
RECTIFIER MINO | Minor | Not Critical
rectifier minor | Minor | Not Critical
RECTIFIER MINOR ALAM | Minor | Not Critical
RECTIFIER MINOR ALARM | Minor | Not Critical
RECTIFIER MINOR ALARM (6) | Minor | Not Critical
Rectifire Major | Major | Critical
Rectifire Minor | Minor | Not Critical
SHELTER DOO | Door | Not Critical
SHELTER DOOR | Door | Not Critical
SHELTER DOOR (1) | Door | Not Critical
SHELTER DOOR ALARM | Door | Not Critical
Shelter High Temperature | High Temp | Critical
SHELTER HIGH TEMPRATURE | High Temp | Critical
Shilter Door open | Door | Not Critical
EXTERNAL AL 1 | Door | Not Critical
EXTERNAL AL 10 | Fire | Critical
EXTERNAL AL 2 | Fence | Not Critical
EXTERNAL AL 3 | Power | Critical
EXTERNAL AL 5 | Major | Critical
EXTERNAL AL 6 | Minor | Not Critical
EXTERNAL AL 8 | Air Condition | Critical
EXTERNAL AL 9 | High Temp | Critical
Phase Down | Phase Down | Not Critical
SHELTER DOOR OPEN | Door | Not Critical
BACKUP GENERATOR ON / OFF STATUS | GEN ON/OFF | Critical
Rectifier Minor | Minor | Not Critical
RECTIFIER MINOR ALA | Minor | Not Critical
SURGE ARRISTOUER | Surge | Not Critical
Main Electricity one - Phase Down | Phase Down | Not Critical
MINOR ALRM | Minor | Not Critical
MAIN ELECTRICITY ONE-PHASE DOWN | Phase Down | Not Critical
SURGE ARRESTOR FAULT | Surge | Not Critical
ACCOC OVER TEMPRATURE | ACCOC | Not Critical
ACCOC INT FAN FAIL | ACCOC | Not Critical
ACCOC DOOR OPEN | ACOC Door | Not Critical
ACCOC INT FAN FAILT | ACCOC | Not Critical
ACCOC EXT FAN FAIL | ACCOC | Not Critical
MAIN POWER CUT OFF (3) | Power | Critical
BACKUP GENERATOR ON / OFF STATUS (12) | GEN ON/OFF | Critical
ACOC DOOR | ACOC Door | Not Critical
ACOC INT FAN FAIL | ACCOC | Not Critical
ACOC DOOR OPEN | ACOC Door | Not Critical
ACOC EXT FAN FAULT | ACCOC | Not Critical
ACOC OVER TEMPERATURE | ACCOC | Not Critical
ACOC INT FAN FAULT | ACCOC | Not Critical
ACOC Door Alarm | ACOC Door | Not Critical
ACOC EXT FAN FAIL | ACCOC | Not Critical
ACOC HT ALARM | ACCOC | Not Critical
ACOC EXT FAN FAILACOC EXT FAN FAIL | ACCOC | Not Critical
ACOCC DOOR ALARM | ACOC Door | Not Critical
ACOC INT FAN FAI | ACCOC | Not Critical
ACOC External fan alarm | ACCOC | Not Critical
ACOC INT FAN FAIL | ACCOC | Not Critical
ACOC FAN EXT | ACCOC | Not Critical
ACOC EXT FAN FAULT | ACCOC | Not Critical
ACOC INT FAN | ACCOC | Not Critical
ACOC EXT FAN | ACCOC | Not Critical
ACOCO DOOR OPEN | ACCOC | Not Critical
AIR CONDITIO | Air Condition | Critical
AIR CONDITION | Air Condition | Critical
AIR CONDITION FAU | Air Condition | Critical
RECTIDFER MINOR ALARM | Minor | Not Critical
RECTIFIER MIN | Minor | Not Critical
RECTIFIER MAJ | Major | Critical
RECATIFER MAJOR | Major | Critical
FIRE ALARM (10) | Fire | Critical
HIGH TEMPER | High Temp | Critical
SHELTER HIGH TEMPERATURE (9) | High Temp | Critical
SHELTER HIGH TEMPRATUR | High Temp | Critical
HIGH TEMPERA | High Temp | Critical
SHELTER HIGH TEMPRATURE | High Temp | Critical
SHELTER DOOR | Door | Not Critical
SHELTER DOO | Door | Not Critical
HELTER DOOR | Door | Not Critical
SHELTER DOOR (1)ALARM (1) | Door | Not Critical
DOOR OPEN ALARM | Door | Not Critical
SURGE ARRESTOR | Surge | Not Critical
MAIN ELECTRICITY ONE-PHASE DOWN (4) | Phase Down | Not Critical
Generator low Oil presuere | GEN LOW OIL | Not Critical
Generator low fuel | GEN LOW OIL | Not Critical
BACKUP GENERATOR | GEN ON/OFF | Critical
Main Power Cut-off | Power | Critical
Power module failure | Power | Critical
Mains power break | Power | Critical
BACKUP GENERATOR ON-OFF STATUS | GEN ON/OFF | Critical
GENERATOR LOW OIL PRESSURE | GEN LOW OIL | Not Critical
GENERATOR LOW FUEL | GEN LOW FUEL | Not Critical
GENERATOR HIGH WATER TEMPERATURE | GEN W Temp | Not Critical
GENERATOR FTS | GEN FTS | Not Critical
ACOC INT. FAN FAIL | ACCOC | Not Critical
BATTERY DEEP DISCHARGE | BTT DisCharge | Not Critical
UPS Urgent (GI) | UPS urgent | Not Critical
UPS ON BYBASS | UPS on | Not Critical
SHELTER FENCE | Fence | Not Critical
Battery Deep Charge | BTT DisCharge | Not Critical
MAIN POWER CUTT OFF | Power | Critical
RECTIFIER MINOR ALAR | Minor | Not Critical
MAIN POWER CUTTOFF ALARM | Power | Critical
ACOC INT. FAN | ACCOC | Not Critical
FENCE GATE DOOR | Fence | Not Critical
ONE PHACE D | Phase Down | Not Critical
Shelter High Temp | High Temp | Critical
RECTFIER MAJOR ALARM | Major | Critical
ACOC HT | ACCOC | Not Critical
FIRE ALARAM | Fire | Critical
ACOC TEMPRATURE | ACCOC | Not Critical
EXT FAN FAILT | Fan | Not Critical
Power Failure | Power | Critical
Power Failure | Power | Critical
Main Power Cutoff | Power | Critical
SHELTER DOOR ALARM;Default System Time | Door | Not Critical
RECTIFIER MAJOR ALARM;Default System Time | Major | Critical
ACOC EXT Alarm | ACCOC | Not Critical
ACOC INT ALARM FAN | ACCOC | Not Critical
ACCOC EXT FAN FAILT | ACCOC | Not Critical
FANCE GATE | Fence | Not Critical
SHELTEAR DOO | Door | Not Critical
FIRE ALAR | Fire | Critical
AIR CONDITION FAULT CLO | Air Condition | Critical
RECTIFIER MINOR ALARM CLO | Minor | Not Critical
FENCE GATE ALA | Fence | Not Critical
RECTIFIER MAINOR ALARM | Minor | Not Critical
HIGH TEMPRAT | High Temp | Critical
SHEITER DOOR ALARM | Door | Not Critical
BACKUP GENER | GEN ON/OFF | Critical
ACOC INT FAN FAILT | ACCOC | Not Critical
AC FAIL | High Temp | Critical
MAIN POWER CUTTOFF ALRM | Power | Critical
SHELTER DO | Door | Not Critical
Backup Gen | GEN ON/OFF | Critical
HIGH TAMPERTURE | High Temp | Critical
SURGE ARRESTORE | Surge | Not Critical
RECTFIER MINOR ALARM | Minor | Not Critical
BACKUP GENERATOR/ OFF STATUS | GEN ON/OFF | Critical
Main Power | Power | Critical
MAIN PWR FAUL | Power | Critical
MAIN POWER CUT OFF;Default System Time | Power | Critical
POWER CUT OFF | Power | Critical
RECCTIFIER MINOR ALARM | Minor | Not Critical
main powe cut off | Power | Critical
FENCE DOOD | Fence | Not Critical
ACOC ALARM | ACCOC | Not Critical
SHELTER DOO;Default System Time | Door | Not Critical
C EXTFAN AULT | ACCOC | Not Critical
C INT FAN FAULT | ACCOC | Not Critical
ACOC DOOR aOPEN | ACOC Door | Not Critical
ACOC ALARM;Default System Time | ACCOC | Not Critical
RECTIFIER MINOR ALARM;Default System Time | Minor | Not Critical
SSHELTER DOOR | Door | Not Critical
SHILTER HIGH TEMPERTURE | High Temp | Critical
Rect. Minor | Minor | Not Critical
FENCE GATE ALARM;Default System Time | Fence | Not Critical
ACOC DOOR;Default System Time | ACOC Door | Not Critical
SHELTER HIGH TEMPERATURE;Default System Time | High Temp | Critical
Main Power Failure | Power | Critical
ACOC DOOR ALARM;Default System Time | ACOC Door | Not Critical
MAIN OWER CUT OFF | Power | Critical